## Slide 1: Techology Issues
Johannes Staguhn

## Slide 2: OST Science Cases – Required Spectral Resolution
Figure:
G. Melnick

## Slide 3: OST Science Cases – Required Spectral Resolution

## Slide 4: OST Science Cases – Required Spectral Resolution

## Slide 5: OST Science Cases – Required Spectral Resolution

## Slide 6: OST Science Cases – Required Spectral Resolution

## Slide 7: OST Science Cases – Required Spectral Resolution

## Slide 8: OST Science Cases – Required Spectral Resolution

## Slide 9: OST Science Cases – Required Spectral Resolution

## Slide 10: OST Science Cases – Required Spectral Resolution

## Slide 11: Detector/readout issues
We have 3 different FIR detector technologies (TES, MKIDs, Quantum Capacitance Det.)
Current mux schemes require large bandwidth (~1MHz/pixel), even though fundamentally you need ~1kHz
  problems w/ power dissipation at 4K
  significant need for power at 300 K (~10mW/pixel)
High sensitvity detectors -> low dynamic range

## Slide 12: We don’t seem to fit in 5m faring
We have a clear mass problem -> not only lightweight instruments (check materials, type of propellant, …)
Reduce Volume and weight:
Number of instruments
Number of pixels (reduce fow, spectral coverage)
Telescope diameter
Telescope operating temperature